| Zagazig University Faculty of Engineering Computer and Systems Department | Course: CSE 421 – Digital Control 4th Year Computer & Systems Engineering Mid-term Exam – November 22, 2015 |
| --- | --- |

| Total marks: 30 | Time allowed: 60 min | No of pages: 2 |
| --- | --- | --- |

Question (1): (18 Marks)

- True or false:

- Analog control is more flexible than digital control.

- The transfer function of a system is the same as the z-transform of the impulse response of the system.

- The unit circle in the s-plane is mapped to the imaginary axis in the z-plane.

- The reconstruction of continuous signals from discrete samples using ideal low-pass filter is a causal operation.

- Under the same conditions, continuous control is better than its equivalent discrete system.

- A/D is represented by a sampler while D/A is represented by a ZOH.

- The sampling period must be small enough to keep the system stable.

- The main advantage of dead-beat control is that it requires small control signal.

- Find the inverse z-transform of the following function:

- Determine whether the system having the following characteristic polynomial is stable:

Question (2): (12 Marks)

- Find the transfer function Y(z)/U(z) if the relationship between the input uk and the output yk is given by the following summation:

- Given the following closed-loop system:

It is desired to design a digital controller, D(z), such that the closed-loop poles are placed either at 0.5 ± j0.5 or 0.6 ± j0.6 and such that the steady-state error in the step response is zero.

- Choose the poles that give the faster response and then design the controller.

- What is the type of the designed controller? Which controller action makes the steady state error zero?

Hint: The relationships between continuous and discrete PID parameters are:

----- All best wishes -----

Exam solution

Question (1)

- X √ X X √ √ √ X

- We have

We have:

So

- The characteristic polynomial is

Jury’s stability conditions are:

The 4th condition needs forming the table as follows:

a0          a1         a2        a3

-0.1         3.1       -3.1        1

1         -3.1        3.1      -0.1

-0.99         -        -2.79

As |-0.99|<|-2.79|, this condition is not satsified → the system is unstable.

Question (2)

- We can write:

By subtracting, we obtain

- The magnitude of the poles 0.5±j0.5 is 0.7 while or the magnitude of 0.6±j0.6 is 0.848. hence the the poles 0.5±j0.5 are more close to the origin and so they correspond to a faster response.

The closed-loop transfer function is

The reason for chosing the numerator as a constant is that the process has two sample periods delay, and hence should be T(z).

To obtain zero seady-state error, T(1) should be 1.

Hence the closed-loop T(z) is

The controller is given by

Be comparing this to the discrete PID controller transfer function, the discrete PID parameters are given by:

From the given relationships, Td = 0. Hence the controller is PI. The integral action is responsible for making the steady state error zero.